`

# Text boxes

SENTEK

SENTEK LIMITED

Unit 6-7 Crittall Court

Crittall Drive

Springwood Industrial Estate

Braintree

Essex CM7 2SE

England

Tel: +44 (0) 1376 340 456

Fax: + 44 (0) 1376 340 453

Sales Fax: +44 (0) 1376 340 426

e-mail: sentekuk@btconnect.com

website: www.sentek.co.uk

Registered Office:		Unit 6-7 Crittall Court, Crittall Drive, Springwood Industrial Estate,

Braintree, Essex, CM7 2SE

Registered in England No.	2753857

BS EN ISO 9001:2008

Certificate No. FM 36099

| Product | Nitrogen Oxides Standard Solution, 0.1M |
| --- | --- |
| Composition | Sodium Nitrite Solution |
| Physical and Chemical Properties | Aqueous solution of Sodium Nitrite |
| Health Hazard |  |
| Toxic by ingestion, large doses causing nausea, vomiting, cyanosis, collapse and coma. Repeated small doses cause a fall in blood pressure, rapid pulse, headache and visual disturbances. Irritating to eyes. |
| Fire Hazard |  |
| None in solution form. |  |
| Storage Precautions |  |
| Store safely in dry area. |
| Handling/Use Precautions |  |
| Solution is for electrode filling purposes only. Keep away from skin and eyes. Handle with care. |
| Emergency Action |  |
| Eye Contact: Flush immediately with plenty of water. If soreness develops, seek medical attention. |
| Skin Contact: Wash affected areas with soap and water. |
| Mouth Contact: Wash out mouth thoroughly with plenty of water. In severe cases, seek medical attention. |

CALIBRATION SOLUTION

HAZARD INFORMATION