# Text boxes

SENTEK

SENTEK LIMITED

Unit 6-7 Crittall Court

Crittall Drive

Springwood Industrial Estate

Braintree

Essex CM7 2SE

England

Tel: +44 (0) 1376 340 456

Fax: + 44 (0) 1376 340 453

Sales Fax: +44 (0) 1376 340 426

e-mail: sentekuk@btconnect.com

website: www.sentek.co.uk

Registered Office:		Unit 6-7 Crittall Court, Crittall Drive, Springwood Industrial Estate,

Braintree, Essex, CM7 2SE

Registered in England No.	2753857

BS EN ISO 9001:2008

Certificate No. FM 36099

| Product | Sulphur Dioxide Standard Solution, 1000ppm |
| --- | --- |
| Composition | Sodium Sulphite Solution |
| Physical and Chemical Properties | Aqueous solution of Sodium Sulphite |
| Health Hazard |  |
| Sodium Sulphite is harmful if ingested in large quantities, causing gastric irritation and diarrhoea. In extreme cases it can be fatal. Irritating skin, eyes and respiratory system. Used in controlled quantities as a food preservative and antioxidant. |
| Fire Hazard |  |
| None in solution form. |  |
| Storage Precautions |  |
| Store safely in dry area. |
| Handling/Use Precautions |  |
| Solution is for electrode filling purposes only. Keep away from skin and eyes. Handle with care. |
| Emergency Action |  |
| Eye Contact: Flush immediately with plenty of water. If soreness develops, seek medical attention. |
| Skin Contact: Wash affected areas with soap and water. |
| Mouth Contact: Wash out mouth thoroughly with plenty of water. In severe cases, seek medical attention. |

CALIBRATION SOLUTION

HAZARD INFORMATION